## AssetListTracking
JIRA | RMA (OAM# if so) | SN | sw BITS | hosts (OR ASSET ID) | files (attachments) | date added | amdgpu | bkc | SYMPTOM | Brief root cause (for classification) | action | FA report | Unit Tracker + Priority entry | MISC |  | RMAd? (if empty, assume RMA-d or yes) | FA Status | FA result
FBA-367 (closed) | OAM6 | 692411000672 |  | 4353 |  |  |  |  | OAM6 is stuck at ~500W |  |  | TBD | N |  |  | NOT RMAd | NA
FBA-367 (closed) | OAM5 | 692411000463 |  | 2346 |  |  |  |  | OAM6 is stuck at ~500W |  |  | TBD | Closed |  |  | PGOOD | FA in progress | Intermittent PGOOD
FBA-378 (closed) |  | 692404004125 | [9 empty] | TBD | N |  |  | NOT RMAd | NA
FBA-382 | OAM4 | 692410006129 |  | 324230642 |  |  |  |  | ERROR MESSAGE ¦ Boot Time error due to FW loading issue #FWID 0x | RMA |  | TBD |  |  |  | HBM_Fail | No FA
FBA-382 | OAM0 | 692410000639 |  | 324267346 |  |  |  |  | ¦ ERROR MESSAGE ¦ Boot Time error with OAM0 HBM stack2 HBM channel 0 mem training error, ¦ | RMA |  | TBD | Low |  |  | HBM_Fail | FA Completed | HBM Die Crack
FBA-382 | OAM3 | 692411000234 |  | 324269951 |  |  |  |  | ¦ ERROR MESSAGE ¦ Boot Time error due to FW loading issue #FWID 0x0154 ¦ 0000:88:00.0 amdgpu 0000:88:00.0: amdgpu: socket: 3, aid: 0, firmware boot failed, fw status is 0xe6985b2d | RMA |  | TBD | Low |  |  | HBM_Fail | FA Completed | HBM Die Crack
FBA-382 | OAM6 | 692411000681 |  | 324270006 |  |  |  |  | ¦ FW COMPONENT ¦ Memory Initialization Phase2 Universal Module ¦ ¦ ERROR MESSAGE ¦ Boot Time error due to FW loading issue #FWID 0x0154 ¦ | RMA |  | TBD | Low |  |  | HBM_Fail | FA in progress | HBM Non Die crack
FBA-382 | OAM3 | 692404003837 | [6 empty] | ERROR TYPE ¦ GNB_EVENT_GPU_ERR_FW_LOAD / Boot Time error due to FW loading issue #FWID 0x0154 | RMA |  | TBD | Low |  |  | HBM_Fail | No FA
FBA-382 | OAM7 | 692415009450 | [6 empty] | ERROR TYPE ¦ GNB_EVENT_GPU_ERR_FW_LOAD / Boot Time error with OAM7 HBM stack2 HBM channel 0 mem training error, | RMA |  | TBD | Low |  |  | HBM_Fail | FA in progress | In progress
FBA-383 | OAM2 | 692410006897 | 24.08.15 | 324269041 (Host 1) |  |  |  |  | I have found two hosts subject to this issue after upgrading 24.08.15 bundle, out of all events, most of them are related to HBM error, but there are 2 I could not related to any CPER files. Here is a summary Host 1 Time ¦ dmesg pointing to PCI bus ¦ decoded_cpers sub-dir ¦ CPER error category May 30 22:51:11¦ 0000:68:00.0(OAM4) ¦ No CPER with matching timestamp ¦ NA May 30 23:25:02¦ 0000:68:00.0(OAM4) ¦ No CPER with matching timestamp ¦ NA May 31 08:21:43¦ 0000:28:00.0(OAM6) ¦ 2024-5-31T15:21:41Z_fatal_690 ¦ HBM Errors May 31 08:57:37¦ 0000:28:00.0(OAM6) ¦ 2024-5-31T15:57:35Z_fatal_691 ¦ HBM Errors May 31 09:24:45¦ 0000:c8:00.0(OAM1) ¦ 2024-5-31T16:24:43Z_fatal_692 ¦ HBM Errors May 31 09:53:29¦ 0000:68:00.0(OAM4) ¦ 2024-5-31T16:53:28Z_fatal_693 ¦ HBM Errors May 31 10:23:54¦ 0000:88:00.0(OAM3) ¦ 2024-5-31T17:23:53Z_fatal_694 ¦ HBM Errors May 31 10:54:05¦ 0000:48:00.0(OAM5) ¦ 2024-5-31T17:54:4Z_fatal_695 ¦ HBM Errors Host 2 Add comment People Assignee: tonylee2 Lee, Tony Assign to me Reporter: dengpan@meta.com Deng Pan Watchers: Chang, Pei, Deng Pan, (4) Gankhuyag, Guyen, Lee, Tony, Sumukh Ramprasad, Tyler Hart Votes: 0 Vote for this issue Watchers: 6 Stop watching this issue Dates Created: 05/Jun/24 10:20 PM Updated: 12/Jul/24 7:29 AM Triaged Date: 12/Jul/24 7:29 AM | RMA: HBM error (OAM0,3,6) |  | TBD | Low |  |  | HBM_Fail | No FA
FBA-383 | OAM1 | 692409006128 | 24.08.15 | 324395849 (Host 2) |  |  |  |  | I have found two hosts subject to this issue after upgrading 24.08.15 bundle, out of all events, most of them are related to HBM error, but there are 2 I could not related to any CPER files. Here is a summary Host 2 Time ¦ dmesg pointing to PCI bus ¦ decoded_cpers sub-dir ¦ CPER error category Jun 3 05:00:53¦ 0000:e9:00.0(OAM0) ¦ 2024-6-3T12:0:51Z_fatal_81 ¦ HBM Errors Jun 3 08:58:05¦ 0000:e9:00.0(OAM0) ¦ 2024-6-3T15:59:12Z_fatal_82 ¦ HBM Errors Jun 3 12:46:55¦ 0000:28:00.0(OAM6) ¦ 2024-6-3T19:48:3Z_fatal_83 ¦ HBM Errors Jun 3 22:43:08¦ 0000:88:00.0(OAM3) ¦ 2024-6-4T5:43:7Z_fatal_84 ¦ HBM Errors Jun 5 19:08:22¦ 0000:e9:00.0(OAM0) ¦ 2024-6-6T2:8:20Z_fatal_140 ¦ HBM Errors | RMA: HBM error (OAM6,1,4,3,5) |  | TBD | Low |  |  | HBM_Fail | No FA
FBA-383 | OAM7 | 692404003816 | 24.08.15? | 324395857 (Host 3?) |  |  |  |  | Adding the 3rd host, 37 ERREVENT_ATHUB_INTERRUPT, all of them can be linked to fatal CPER caused by HBM Errors. | RMA: Fatal Json |  | TBD | Low |  |  | HBM_Fail | No FA
FBA-384(closed) | OAM0 |  |  | 324323020 | 324323020_decoded_boot_cpers.tgz | 45453 | [9 empty] | NOT RMAd | NA
FBA-384(closed) | OAM3 | 692404003862 |  | 324323020 | 324323020.tgz | 45453 | 6.7.8 (dmesg) | 00.24.08.15 (redfish_tree.log) | Tony: First Critical Msg : "Critical Message: The health of resource 'OAM_0 module power good' has changed to Critical" Suggest OAM_0 has issue update: (Deng): Previously sel-log shows that OAM0 is the one caused the UBB power off Today I noticed that the amdgpu driver could not initialize this GPU any more after reboot, with error code "amdgpu 0000:e9:00.0: amdgpu: socket: 0, aid: 0, firmware boot failed, fw status is 0xe6985b2d", I am trying to see if I can find a boot related cper now Update (Deng): 6/18/2024: I've found 3 boot-* cper file today, after decoding it shows that all of them subject to OAM0 subject to HBM training error. Log file uploaded: 324323020_decoded_boot_cpers.tgz | RMA: HBM training error | Record All OAM SN Run more test, agfhc + Meta's stress tests on this, if OAM_0 continue to show more issue, Request for RMA on that OAM |  |  | Shipped fedex: 7771 2361 9627 |  | PGOOD | FA Completed | HBM Non Die crack
FBA-384(closed) | OAM5 | 692404006036 (all SNs provided) |  | 324348745 | 324348745.tgz | 45453 |  |  | Tony: BMC Sel Log show "Critical Message: The health of resource 'OAM_3 module power good' has changed to Critical." as the first critical msg. Update (Deng): 6/18/2024: Finally, the system 324348745 ends up in a status the MB cannot power on. I looked at the journal log and it seems to be pointing to the OAM3 which is exactly the one called out by sel log when the unexpcted shutdown happens. Log file uploaded to 324348745_cannot_poweron.tgz. | RMA: Power Fail Event: GPU_BASE_STBY_EN_R Assert GPU_FPGA_READY_ISO_R Assert PM_GPU_PWR_EN Assert FM_GPU_PWRGD_ISO_R Assert | Run more test, agfhc + Meta's stress tests on this, if OAM_3 continue to show more issue, Request for RMA on that OAM |  |  | Parts had been re-received in; pending DC to process the shipment |  | PGOOD | FA Completed | IBC Short to ground
FBA-384(closed) | OAM4 | 692402006067 |  | 324395814 | 324395814.tgz | 45453 |  |  | - Tony 6.14.2024: Action : Replace OAM5 -> If system can boot afterward, RMA OAM5. Not sure on OAM5's SN. Update (Nischay): similar issue as 324324021, OAM5: has PGOOD fault, 6/19/2024: SMC appears OK | RMA: PGOOD Fault | OAM5 failure to boot 0xdf in PG in JournalCTL log |  |  | OAM5 S/N is 692404006405, Parts had been re-received in; pending DC to process the shipment |  | NOT RMAd | NA
FBA-384(closed) | OAM3 |  |  | 324395814 | 324395814.tgz | 45453 |  |  | 6.14.2025. Tony: After OAM5 is replaced, if system boots ok, please run agfhc 8 hr HBM test on system to confirm OAM4 is ok. | OK | Correctable CPER shows for OAM4 692402006067 |  |  | No Issue on OAM4, no RMA |  | NOT RMAd | NA
FBA-384(closed) | OAM0 | 692410000651 |  | 324276288 | 324276288.tgz | 45457 |  |  | Deng: journal and sel log suggest OAM3 cannot power on 6.18.2024. 1) Host boot up after replacing OAM3, thanks Tony 2) I carefully reviews the history of this host and found it was not able to boot up after flashing BKC 24.08.15 and I've reviewed this case with Tony previously. Our DC folks tried to swap the UBB tray and for some reason things changed after that. But it is more likely belong to the ticket FBA-382 not this case. So still we have about 5 hosts failed while running workload. | OK (likely FBA-382) | Tony: Replace OAM_3 if boots ok, RMA OAM_3 and re-run agfhc on the new system. Deng: Host boot up after replacing OAM3 |  |  | Yet to perform the repair | Sumukh: S/N is 692410001794. FedEx tracking#777957996954 | NOT RMAd | NA
FBA-384(closed) |  |  |  | 324323975 | 324323975.tgz | 45464 |  |  | Tony: driver load failed issue: We like get the MP0 status from that SMC if the system is still in failed state. Update (Deng): 6.19.2024: Some update regarding system 324323975 I saw a bunch of message like following in the redfish_log_w_index , it seems that the SMC was trying to generate boot-*.cper files, but on the other side, I cannot any such cper file under /run/initramfs/log_nv/amd-ras/, nor can I get any such CPER file with GT_bmc_pyutil.py script Update (Deng): 6/20/2024: The symptom for this host is 1. Motherboard boot up 2. amdgpu driver cannot initialize any GPU and the dmesg error is consistent for all GPUs 3. SMC redfish log indicate there were multiple efforts to generate boot cper files, but CPER files cannot be generated Update (Deng) 6/24/2024: Update for system 324323975 With debug FW v3, we were able to dump the boot cper files finally, previous failure likely caused by OAM indexing handled incorrectly After decoding the CPER file, it provide identical boot error for all 8 OAMs, so still cannot pinpoint if there is a single OAM failure. Log file uploaded to 324323975_debugfw_v3.tgz 6/24/2024: Asset 324323975, host boot up with all 8 cards reported by rocm-smi, driver didn't complain, attaching the cper files captured with v3 debug fw before and after the reseat if AMD team interested. One problem noticed here is the serial number in the json file seems not matching the OAM's serial number? Tar ball name: 324323975_final.tgz Update for asset 324323975, the last one still under investigation We were able to generate a boot cper file with debug fw, but there was no difference in terms of Boot message across different OAMs We tried to reseat all OAMs today, after that we were able to see some difference now boot cper: there are two boot cper files per AC cycle 1st one: OAM0 Boot Message ¦ 0x0000004400000089 OAM1-7 Boot Message ¦ 0x00000046000000f2 2nd one: OAM 0-7 Boot Message ¦ 0x00000046000000f2 dmesg OAM0 fw status: 2*0xeffaf1f2 and 2*0xeffb9b89 Other OAM fw status: 0xeffaf1f2 across the board 6.26.2024: Deng: Asset 324323975, host boot up with all 8 cards reported by rocm-smi, driver didn't complain, attaching the cper files captured with v3 debug fw before and after the reseat if AMD team interested. One problem noticed here is the serial number in the json file seems not matching the OAM's serial number? Tar ball name: 324323975_final.tgz | OK (all 8 book ok/driver load, SN mismatch???) |  |  |  |  | no swap needed | NOT RMAd | NA
FBA-384(closed) |  |  |  | 324319833 | 324319833.tgz | 45469 |  |  | 6/26/2024: Asset 324319833, this is a new case found today. sel log pointing to OAM1 caused the power off but again there is no recent cper. I also could not found anything from event or redfish log. Host boot up normal after AC cycle, and drive loads fine. Right now under 8 hr agfhc hbm testing. | OK (recovered after AC cycle) |  |  |  |  | no swap needed | NOT RMAd | NA
FBA-384(closed) | OAM0 |  |  | 324204340 | 324204340.tgz | 45470 |  | 00.24.08.15 (redfish_tree.log) | 6/27/2024: The shutdown event happened on 7:23 AM PST Jun 26, while the host was being reimaged and it has a CTF in the sel log. Being reimage means that 1. There is absolutely no workload running 2. System was boot from the PXE boot, only driver loaded, there was no any other ROCm RPMs being installed. | No update |  |  |  |  | no swap needed | NOT RMAd | NA
FBA-384(closed) | OAM0 | 692350003066 |  | 323693080 | 323693080.tgz | 45482 | ? | ? | Host shutdown on it's own and sel log does not call out any OAM System cannot power on after AC cycle, journal/sel log shows OAM0 cannot receive power good which means it is qualified for RMA What's unique in this case is the UBB shutdown itself again a while after AC cycle | RMA. OAM0 cannot receive power |  |  |  | Yet to perform the repair | Shipped FedEx tracking # 777632456131 | GPU_ERROR | No FA
FBA-384(closed) | OAM4 |  |  | 324230218 | 324230218.tgz | 45482 | 6.7.8 (dmesg) | 00.24.08.15 (redfish_tree.log) | Sel log called out both OAM0 and OAM4 were subject to 100+ degC DIE temp while adjacent ODS reading reports something around 50degC | No update |  |  |  | Yet to perform the repair | no swap needed | NOT RMAd | NA
FBA-384(closed) | OAM6 |  |  | 324230218 | 324230218.tgz | 45482 | 6.7.8 (dmesg) | 00.24.08.15 (redfish_tree.log) | Sel log called out both OAM0 and OAM4 were subject to 100+ degC DIE temp while adjacent ODS reading reports something around 50degC | No update |  |  |  | Yet to perform the repair | no swap needed | NOT RMAd | NA
FBA-384(closed) | OAM0 | 692410004783 |  | 324230218 | 324230218.tgz | 45482 | 6.7.8 (dmesg) | 00.24.08.15 (redfish_tree.log) | System boot up after AC cycle but always cannot report all 8 GPUs, and the results varies after reboot. Some times one is missing, some times more than one missing. More than once I saw OAM6 missing. No CPER file with timestamp adjacent to the power down event 7.23.2024: (324230218_0723.tgz) Thanks to Sumu, we have swapped OAM6 but issue remains, we still cannot see it from in-band while OOB shows nothing wrong. I tried to reflash the PCIe switch FW yet that didn't help. This time I included ltssm and link state log to see if there is any clue. | Swap did not work. UBB? | Recommend swap and re-test to confirm OAM6 is the cause of the issue. |  |  | Yet to perform the repair | Shipped. Fedex: 7775 9378 7447 | HBM_Fail | No FA
FBA-384(closed) | OAM1 | 692404006139 |  | 324324021 | 324324021 |  |  |  | OAM 0 failed to boot. 6/19/2024 (Nischay): Logs from the '324324021' system indicate that the OAM_0 has PGOOD fault, 6/19/2024: SMC appears OK | PGOOD Fault | Action: replace OAM0 -> If confirm system can boot afterward, RMA OAM0 |  |  | Shipped - FedEx 7771 2361 9627 |  | PGOOD | FA Completed | IBC Short to ground
FBA-384(closed) | OAM2 | OAM1: 692410007021 |  | 324497173 | 324497173.tgz | 45476 |  |  | CPER wise, there is no CPER tightly coupled to the shutdown event itself. But one of the system (324497173) has many HBM CPERs (including fatal) for OAM1 (S/N 692410007021) and boot CPER for OAM2 (S/N 692410006917) | RMA: HBM CPER Fatal |  |  |  | Shipped - FedEx 7774 2954 5168 |  | NOT RMAd | NA
FBA-384(closed) | OAM4 | OAM2: 692410006917 |  | 324497173 | 324497173.tgz | 45476 |  |  | CPER wise, there is no CPER tightly coupled to the shutdown event itself. But one of the system (324497173) has many HBM CPERs (including fatal) for OAM1 (S/N 692410007021) and boot CPER for OAM2 (S/N 692410006917) | RMA: boot CPER |  |  |  | Shipped - FedEx 7774 2954 5168 |  | HBM_Fail | No FA
FBA-384(closed) | OAM5 |  |  | 324559938 | 324559938.tgz | 45476 |  |  | Tony: OAM 4 -> PGOOD -> UBB POwer Off. From Sel Log: | Power Fail Event: GPU_BASE_STBY_EN_R Assert GPU_FPGA_READY_ISO_R Assert PM_GPU_PWR_EN Assert FM_GPU_PWRGD_ISO_R Assert | To see if additiona info / SAG guidence are needed. No cper. on watch list for continue monitor. AMD to continue internal review with SAG, Architech, Silicon, FW teams. |  |  | No further issue seen | no swap needed | NOT RMAd | NA
FBA-384(closed) | OAM5 |  |  | 324559951 | 324559951.tgz | 45476 |  |  | Tony: OAM 5 -> PG Critical -> UBB OFF in sel log | No update | To see if additiona info / SAG guidence are needed. No cper. on watch list for continue monitor. AMD to continue internal review with SAG, Architech, Silicon, FW teams. |  |  | No further issue seen | no swap needed | NOT RMAd | NA
FBA-384(closed) |  | 692350005393 |  | 323703062 | 323703062 | 45483 |  |  | -Sel log shows OAM5 (692350005393) subject to critical thermal event prior to shutdown -Host unable to boot up, caused by OAM5 cannot receive power good. -I was not able to capture that part of journal log but sel log has the trace -The OAM5 also subject to many HBM uncorrectable errors several months earlier, decoded cper attached | RMA |  |  |  | Yet to perform the repair | Shipped. Fedex: 7775 9378 7447 | HBM_Fail | No FA
FBA-384(closed) |  |  |  | 324230585 | 324230585 | 45496 |  |  | 7.23.2024: 324230585 (324230585.tgz) and 324319833 (324319833.tgz), both previously flashed with 24.08, recovered after AC cycle | OK (recovered after AC cycle) | [5 empty] | NOT RMAd | NA
FBA-384(closed) |  |  |  | 324319833 | 324319833 | 45496 |  |  | 7.23.2024: 324230585 (324230585.tgz) and 324319833 (324319833.tgz), both previously flashed with 24.08, recovered after AC cycle | OK (recovered after AC cycle) | [5 empty] | NOT RMAd | NA
FBA-384(closed) |  |  |  | 323574763 | 323574763 | 45496 |  |  | 7.23.2024: (323574763.tgz) , previously flashed with 24.03, recovered after AC cycle, I flashed 24.08 after that to get the log files out | OK (recovered after AC cycle) | [5 empty] | NOT RMAd | NA
FBA-390 | OAM6 | 692402002227 |  | rtptest9983.ftw2 |  |  |  |  | OAM6 -> Bad OAM -> Swap out --- RMA. SA-6 (retorque all OAMs) | RMA (candidate) |  | TBD | N |  |  | HBM_Fail | No FA
FBA-390 | OAM7 | 692345001526 |  | rtptest9983.ftw2 |  |  |  |  | OAM7 -> ee -> Bad . SA-6 (retorque all OAMs) | RMA (candidate) |  | TBD | N |  |  | HBM_Fail | No FA
FBA-390 | OAM0 | 692345001526 |  | rtptest9983.ftw2 |  |  |  |  | GNB_EVENT_OOB_GPU_ERR_UNKNOWN SA-6 (retorque all OAMs) | A4 WAFL |  | TBD | N |  |  | HBM_Fail | No FA
FBA-390 | OAM1 |  |  | rtptest9983.ftw2 |  |  |  |  | SA-6 (retorque all OAMs) | C5 WAFL |  | TBD |  |  |  | NOT RMAd | NA
FBA-390 | OAM5 |  |  | rtptest9983.ftw2 |  |  |  |  | SA-6 (retorque all OAMs) | C5 WAFL |  | TBD |  |  |  | NOT RMAd | NA
FBA-390 | OAM6 | 692410001794 |  | twshared49272.15.ftw2 |  |  |  |  | OAM 6, 7 Failed from time to time. | RMA: BOOT cper unk.err |  | TBD | N |  |  | HBM_Fail | FA in progress | In progress
FBA-390 | OAM0->OAM5 |  |  | twshared49272.15.ftw2 |  |  |  |  | OAM 0->5 WAFL, | WAFL?? |  | TBD |  |  |  | NOT RMAd | NA
FBA-390 | OAM7 |  |  | rtptest44941 |  |  |  |  | OAM 6, 7 Failed from time to time. | RMA: Unc.Fatal Err |  | TBD |  |  |  | NOT RMAd | NA
FBA-390 | OAM1 |  |  | rtptest44941 | [5 empty] | RMA (candidate): boot error |  | TBD |  |  |  | NOT RMAd | NA
FBA-398 | OAM4 | 692409005374 |  | rtptest4364 |  |  |  |  | GNB_EVENT_GPU_ERR_WAFL_LINK_TRAINING . Note: This issue was seen after the 8 hour AGFHC run. | RMA |  | TBD |  |  |  | WAFL Link | No FA
FBA-398 | OAM5 | 692410000031 |  | rtptest4364 |  |  |  |  | GNB_EVENT_GPU_ERR_WAFL_LINK_TRAINING . Note: This issue was seen after the 8 hour AGFHC run. | RMA |  | TBD |  |  |  | WAFL Link | No FA
FBA-398 | OAM6 | 692410000089 |  | rtptest4364 |  |  |  |  | GNB_EVENT_GPU_ERR_WAFL_LINK_TRAINING . Note: This issue was seen after the 8 hour AGFHC run. | RMA |  | TBD |  |  |  | WAFL Link | No FA
FBA-398 | OAM7 | 692410000679 |  | rtptest4364 |  |  |  |  | GNB_EVENT_GPU_ERR_WAFL_LINK_TRAINING . Note: This issue was seen after the 8 hour AGFHC run. | RMA |  | TBD |  |  |  | WAFL Link | No FA
FBA-398 | OAM5 |  |  | twshared38920 |  |  |  |  | OAM5 was missing from the bus and 0x00 boot message for OAM5 shown in cper log. |  |  | TBD |  |  |  | NOT RMAd | NA
FBA-398 | OAM4 (0) | 692416003234 |  | twshared38920 |  |  |  |  | SEL calls out OAM4: 44 ubb 2024-07-24 13:41:30 redfish-events FRU: 44 CreateTime: 2024-07-24T20:41:10+00:00 Severity: Critical Message: A self-test has failed. The following message was returned: 'WAFL link training failed for link id:0x1 on AID:0x0 of OAM:0x4'. | RMA |  | TBD |  |  |  | WAFL Link | FA in progress | In progress
FBA-398 | OAM2 | 692416005270 |  | twshared54507 |  |  |  |  | SEL called out OAM2: FRU: 44 CreateTime: 2018-04-06T21:49:23+00:00 Severity: Critical Message: A self-test has failed. The following message was returned: 'WAFL link training failed for link id:0x1 on AID:0x0 of OAM:0x2' | RMA |  | TBD |  |  |  | WAFL Link | Not arrived | Pending arrival
FBA-402 |  |  |  | rtptest4364.tar.gz | [7 empty] | TBD |  |  |  | NOT RMAd | NA
FBA-404 |  |  |  | twshared32623.tgz | [7 empty] | TBD |  |  |  | NOT RMAd | NA
FBA-404 | OAM0 |  |  | twshared2456 |  |  |  |  | Flashing BKC 24.08.15 twice made the ERoT failure go away. Now, we are seeing firmware load failure CPER from OAM0. This is the same as FBA-384(closed). In the process of swapping OAM0 and RMA. |  |  | TBD |  |  |  | NOT RMAd | NA
FBA-406 | OAM7 | 692350004162 | [9 empty] | TBD |  |  |  | GPU_ERROR | No FA
FBA-409 |  |  |  | twsahred63493.tgz |  |  |  |  | Power Fail Event: GPU_FPGA_READY_ISO_R Assert Power Fail Event: FM_GPU_PWR_EN Assert |  |  | TBD |  |  |  | NOT RMAd | NA
FBA-409 |  |  |  | twshared54270.tgz |  |  |  |  | Power Fail Event: FM_GPU_PWR_EN Assert |  |  | TBD |  |  |  | NOT RMAd | NA
FBA-417 | OAM0 | [10 empty] | TBD |  |  |  | NOT RMAd | NA
FBA-420 | [11 empty] | TBD |  |  |  | NOT RMAd | NA
FBA-424 | UBB0 | 692411100193 |  | twshared78761.02.cco1 | [7 empty] | TBD |  |  |  | NOT RMAd | NA
FBA-430 | ? | 692350100137 |  | twshared47346 | [7 empty] | TBD |  |  |  | MISC | Not arrived | Pending arrival
FBA-430 | ? | 692350100113 |  | devgpu007.nha3 | [7 empty] | TBD |  |  |  | NOT RMAd | NA
FBA-430 | ? | N/A (Will update when swapped) |  | rtptest4389.cco2 | [7 empty] | TBD |  |  |  | NOT RMAd | NA
FBA-433 | OAM7 | 692429007158 |  | twshared33321 | [7 empty] | TBD |  |  |  | FW_SW_Hang | Not arrived | Pending arrival
FBA-418 | OAM3 | 692411000210 |  | 324230017 | [7 empty] | TBD |  |  |  | NOT RMAd | NA
FBA-410 | OAM2 | 692410006897 |  | twshared44758? Waiting for confirmation | [11 empty] | HBM_Fail | No FA
FBA-413 | OAM0 | 692416004031 |  | twshared45712 | twshared45712.tgz | [10 empty] | GPU_ERROR | Not arrived | Pending arrival
FBA-419 |  | Refer to S442752 Investigation.xlsx while being populated here /36 systems/ | [13 empty] | NOT RMAd | NA
FBA-420 |  | Asked for info | [13 empty] | NOT RMAd | NA
FBA-434 |  | 692404003941 |  | twshared61124? | [11 empty] | NOT RMAd | NA
FBA-434 |  | 692428007603 |  | twshared61124? | [11 empty] | NOT RMAd | NA
FBA-434 |  | 692402002287 |  | twshared61124? | [11 empty] | NOT RMAd | NA
FBA-434 |  | 692425004819 |  | twshared61124? | [11 empty] | NOT RMAd | NA
FBA-434 |  | 692428008156 | OAM4 | twshared61124 | [11 empty] | PGOOD | Not arrived | Pending arrival
FBA-435 |  | 692410100937 (ubb) | UBB | wshared45269.01.cco3/324270044 | [11 empty] | NOT RMAd | NA
FBA-443 | OAM_3 | 692416005293 |  | 324895761 | [13 empty] | Transient
FBA-443 | OAM_3 | 692404003941 |  | 324323020 | [13 empty] | Run-time PG Leading to HBM issue (Swap initiated)
FBA-443 | OAM_5 | 692428007603 |  | 325572090 | [13 empty] | Permanent PG (Swap initiated)
FBA-443 | OAM_0 | 692402002287 |  | 323693065 | [13 empty] | Permanent PG (Swap initiated)
FBA-443 | OAM_0 | 692423006897 |  | 324976211 | [13 empty] | CTF
FBA-443 | OAM_1 | 692416003787 |  | 324887160 | [13 empty] | Transient
FBA-443 | OAM_3 | 692416003060 |  | 324984488 | [13 empty] | CTF, repeatable
FBA-443 | OAM_1 | 692425004819 |  | 325154013 | [13 empty] | Permanent PG (Swap initiated)
FBA-443 | OAM_4 | 692420005899 |  | 325060040 | [13 empty] | CTF
FBA-443 | OMA_7 | 692416001112 |  | 325008355 | [13 empty] | CTF
FBA-443 | OAM_4 | 692428008156 |  | 325630865 | [13 empty] | Permanent PG (Swap done)
FBA-443 | OAM_4 | 692428008148 |  | 325875374 | [13 empty] | IBC_TEMP
FBA-443 | OAM_3 | 692428007228 |  | 325732047 | [13 empty] | CTF
FBA-443 | OAM_7 | 692428007103 |  | 325504667 | [13 empty] | IBC_TEMP
FBA-443 | OAM_3 | 692428008171 |  | 325612326 | [13 empty] | CTF
FBA-443 | OAM_3 | 692429007961 |  | 325905846 | [13 empty] | OAM3 Pgood and OAM5 firmware load failure. Swapping OAM5 to see if the system boots up.
FBA-443 | OAM_5 | 692428007602 |  | 325791520 | [13 empty] | Permanent PG
FBA-443 | OAM_3 | 692429003792 |  | 325785956 | [13 empty] | CTF
FBA-443 | OAM_4 | 692420001874 |  | 324979364 | [13 empty] | CTF
FBA-420 | 5 | 692409000079 |  | rtptest8059.atn1 | [11 empty] | no or not yet
FBA-420 | 4 | 692416003078 |  | twshared106682.14.frc2 | [11 empty] | no or not yet
FBA-420 | 0 | 692421005762 |  | twshared107159.14.frc2 | [11 empty] | no or not yet
FBA-420 | 7 | 692420002738 |  | twshared31796.31.prn2 | [11 empty] | no or not yet
FBA-420 | 7 | 692416002560 |  | twshared32745.01.ncg6 | [11 empty] | no or not yet
FBA-420 | 4 | 692420003106 |  | twshared38108.03.ncg5 | [11 empty] | no or not yet
FBA-420 | 0 | 692420004346 |  | twshared4554.04.rva6 | [11 empty] | no or not yet
FBA-420 | 3 | 692421007095 |  | twshared47362.04.ncg5 | [11 empty] | no or not yet
FBA-420 | 0 | 692423006893 |  | twshared52863.02.vll5 | [11 empty] | no or not yet
FBA-420 | 0 | 692423006500 |  | twshared52865.02.vll5 | [11 empty] | no or not yet
FBA-420 | 3 | 692420004261 |  | twshared55069.16.prn3 | [11 empty] | no or not yet
FBA-420 | 4 | 692421004739 |  | twshared56588.01.rva5 | [11 empty] | no or not yet
FBA-420 | 4 | 692420004347 |  | twshared57878.03.nha1 | [11 empty] | no or not yet
FBA-420 | 4 | 692421005328 |  | twshared60849.15.prn3 | [11 empty] | no or not yet
FBA-420 | 4 | 692420001510 |  | twshared63227.12.atn3 | [11 empty] | no or not yet
FBA-420 | 3 | 692420004240 |  | twshared64201.04.prn5 | [11 empty] | no or not yet
FBA-420 | 7 | 692419006184 |  | twshared64494.04.ncg2 | [11 empty] | no or not yet
FBA-420 | 7 | 692416005346 |  | twshared67816.04.prn6 | [11 empty] | yes
FBA-420 | 0 | 692421004718 |  | twshared69965.05.prn5 | [11 empty] | no or not yet
FBA-420 | 0 | 692420004752 |  | twshared83652.03.prn6 | [11 empty] | no or not yet
FBA-420 | 4 | 692420001827 |  | twshared83699.03.prn6 | [11 empty] | yes
FBA-420 | 4 | 692420004345 |  | twshared85308.02.prn6 | [11 empty] | yes
FBA-420 | 0 | 692423006860 |  | twshared90005.15.frc2 | [11 empty] | no or not yet
FBA-420 | 7 | 692420005672 |  | twshared90006.15.frc2 | [11 empty] | no or not yet
Note on N1: Gankhuyag, Guyen: information here is unreliable
Note on K30: Gankhuyag, Guyen: seeng same power fail error in attached log from tony (http://m4005-2204.amd.com/MI300X/Phantom-GT-Quanta/FBA/FBA-384/07_03_Logs_3_more_systems_failed/324559938/sel_log.log) but no action on this one, but similar node 324348745 has RMA-d?
Note on K42: Gankhuyag, Guyen: What does oam0->5 means? Swap?

## Close_criteria
One of followings are met with ALL assets and ALL OAMs per asset for CLOSE criteria.
1) OAM is RMA-d, Failure Analysis is done and replaced with known good OAM (confirmed by Meta 9.19.2024 ramp-up monthly call)
2) Asset/OAM recovered after corrective action (root cause still preferred)
3) if symptom does not meet 1) AND 2) above, consider tracking in different JIRA specially multiple systems are experiencing same symptom

## Issue grouping
ATHUB | FBA-417, FBA-383, FBA-354 | GG
No SEL and/or CPER log | FBA-417 (8/24/2024), FBA-413 | WL/GG
PGOOD | FBA-434 | GG
Unable to collect Allogs | FBA-402 (MAIN REPORT), FBA-398. FBA-413 | GG
BOOT LOOP | FBA-409 (main report), FBA-404 (closed)
USB vNic vs. BMC connection | FBA-430
AGFHC report | FBA-427, FBA-401, FBA-393 | WL
AFGHC |  | WL?
CPER Flood | FBA-447
CPER decoder (ADDC) | FBA-437 | GG
SEL entry missing with CPER generated | FBA-413, FBA-422
Overall approach to grouped issue:
"- for issue groups, look at related jiras collectively as a wholesome"
"- Look for if any reason for duplicate: same issue but not similar or related isseu"